## Slide 1: Software, Tools & Docs WAGO-I/O-SYSTEM
3
e!COCKPIT functionality
Create a project
Software overview
Configuration
I/O-CHECK

## Slide 2: e!COCKPIT functionality
Configuration | „I/O-CHECK“
Programming | Visualization

## Slide 3: Create a project
You can start a project either at Empty project or
Product Series 750.

## Slide 4: Create a project
Empty project:
Preferably, in online configuration or more controllers in the project.
Product Series 750:
Preferably, in offline configuration with 1 controller/ project.

## Slide 5: Software overview
After creating an empty project e!COCKPIT starts in the graphical Device structure.

## Slide 6: Device structure – Program structure
You can switch between the Device structure and Program structure with symbols on the left side of the screen
Device structure
Program structure

## Slide 7: Alternative Device structure views
Graphical view
Table view

## Slide 8: Configuration steps in e!COCKPIT
Configure network
Configure network nodes
Online
Offline
Configure node modules (if necessary)
Configure variables
configuration
network
variables
Online
devices
modules
Offline
devices
modules

## Slide 9: Configure network
IP network settings
Adjust the ETHERNET network settings according to your IP address range

## Slide 10: Online node configuration
New device is detected
Scanning the devices
Configured and scanned device agree
Two options

## Slide 11: Online node configuration
Configuration with controllers and modules
Graphical view
Table view

## Slide 12: Offline node configuration
Insert devices from product catalog

## Slide 13: Offline node configuration
1st option: Set the communication parameters
If Communication parameters are set correctly, you can read controller settings via Ethernet Settings

## Slide 14: Offline node configuration
In Menu =>Device =>Addressing
2nd option: Set the communication parameters

## Slide 15: Offline node configuration
Insert the modules from the product catalog

## Slide 16: Offline node configuration
Configuration with controllers and modules
Graphical view
Table view

## Slide 17: Configure variables
After Scan devices => Scan modules

## Slide 18: Configure variables
slide upwards

## Slide 19: Configure variables
Type in the variables name of inputs and outputs
Digital modules can be addressed in word/ byte or in bit.
For outputs only alternatively and not at the same time.

## Slide 20: Configure variables
%I, %Q process image of addressing scheme (example)
Due to this overlap of %IB and %IW areas, using this addressing is not recommended. Additionally, are changed the I%,%Q addresses for subsequent in the nodes configuration.
Byte | Word
%IB0 couple %IW0 | 
%IB1 digital module1 | 
%IB2 | %IW1analog module1_1
%IB3 | 
%IB4 | %IW2 analog module1_2
%IB5 | 
%IB6 digital module2 | %IW3
%IB7 (empty) | 
%IB8 | %IW4 analog module2_1
%IB9 | 
%IB10 | %IW5 analog module2_1
%IB11 | 
%IB0
IB1
IW1
IB6
IW4

## Slide 21: Write a simple program
Open Program structure

## Slide 22: Write a simple program
Write a simple program (click in PLC_PRG and press the F2 button to get the configured variables

## Slide 23: Write a simple program
Connect and Start

## Slide 24: Module configuration
Additionally, some modules can be configured at settings (eg. 750-464).

## Slide 25: I/O-CHECK
I/O-CHECK control mode disabled: Inputs can be read
I/O-CHECK control mode enabled: Inputs can be read, outputs can be set
Control mode is only available, if PLC in STOP.

## Slide 26: I/O-CHECK
I/O-CHECK in control mode
How to read inputs and to set outputs
To set outputs in I/O-CHECK click on the LED symbol
Control mode indicating color